| Pioneer Lookout Water District Address: P.O. Box 851 Monument, CO 80132 Rural Community Assistance Corporation www.rcac.org | Pioneer Lookout Emergency Response Planning Template for Public Drinking Water Systems Jan 2020 |
| --- | --- |

Original source:

Rural Community Assistance Corporation, Western RCAP, RCAP Safety and Security Education Program

Emergency Response Planning Template for Public Drinking Water Systems

RCAP Regional Offices:

If you need technical assistance to complete your Emergency Response Plan, please contact one of our regional offices listed below.

Western

RCAP

Midwest

RCAP

Great Lakes

RCAP

Southern

RCAP

Northeast RCAP

RCAP National Office

Southeast RCAP

| Regional Offices | Contact Number | Web Address |
| --- | --- | --- |
| RCAP National Office | 888/321-7227 | www.rcap.org |
| Western RCAP | 916/447-2854 | www.rcac.org |
| Southeast RCAP | 866/928-3731 | www.southeastrcap.org |
| Great Lakes RCAP | 800/775-9767 | www.glrcap.org |
| Southern RCAP | 479/443-2700 | www.crg.org |
| Northeast RCAP | 800/488-1969 | www.rcapsolutions.org |
| Midwest RCAP | 952/758-4334 | www.map-inc.org |

This material is based upon work supported in part under a grant by the Rural Utilities Service, United States Department of Agriculture. Any opinions, findings, and conclusions or recommendations expressed in this material are solely the responsibility of the authors and do not necessarily represent the official views of the Rural Utilities Service. Additional funding provided by U.S. Department of Health and Human Services and revised by RCAC (August 2005) based on materials developed by the Washington State Department of Health, Training and Outreach Section, Division of Drinking Water.

For additional copies of this publication, call 888/321-7227or visit RCAP’s web site  at www.rcap.org.

This publication is being distributed under the auspices of Rural Community Assistance Partnership.

P I O N E E R L O O K O U T W D

## Planning Template

# Introduction

Preparing an emergency response plan is an essential part of managing a drinking water system. Rural Community Assistance Partnership, Inc has developed this template for public water systems serving 3,300 population or fewer to help them develop such plans

# Section 1. System Information

Keep this basic information easily accessible to authorized staff for emergency responders, repair people, and the news media.

### System information

| System Identification Number | PWSID: CO0121625 |  |
| --- | --- | --- |
| System Name and Address | PIONEER LOOKOUT WATER DISTRICT 639 ROBERTS DRIVE MONUMENT, CO 80132 |  |
| Directions to the System | West on Highway 105 turn Left at Roberts Drive and the well house is on the corner of Chandler & Roberts |  |
| Basic Description and Location of System Facilities | The Pioneer Lookout Water system has one ground water well and is located at Lot 5 Blk 6 in the Pioneer Lookout Subdivision |  |
| Location/Town | Pioneer Lookout Subdivision El Paso County |  |
| Population Served and Service Connections from Division of Drinking Water Records | ___100_____ people | __43____ connections |
| System Owner | PIONEER LOOKOUT SUBDIVISION |  |
| Name, Title, and Phone Number of Person Responsible for Maintaining and Implementing the Emergency Plan | DAVID WILLARD, Director | ______________ Phone _719-244-5593 _ Cell _______________ Pager |
| Location of treatment and distribution schematics and operations manuals | Tom Tharnish Certified Technician | 2685 Walker Court Monument, CO 80132 |

# Section 2. Chain of Command – Lines of Authority

The first response step in any emergency is to inform the person at the top of this list, who is responsible for managing the emergency and making key decisions.

### Chain of command – lines of authority

| Name and Title | Responsibilities During an Emergency | Contact Numbers |
| --- | --- | --- |
| TOM THARNISH | Assess the system’s facilities and operations in the field. Organize and carry out repairs | Cell:719-499-1126 |
| LYNN SPEAR | Responsible for overall management and decision making for the water system. Assign responsibility to oversee and carry out notifications. | Cell: 719-499-1190 |
| MARY BOWMAN | Handle incoming phone calls and administrative support. Contact customers. Assemble comprehensive call-up list with names and contact numbers | Cell: 719-650-1830 |
| BONNIE SANDS | Assist with contacting customers | Cell: 719-321-9197 |
| DAVID WILLARD | Responsible for Maintaining and Implementing Emergency Plan | Cell: 719-244-5593 |

# Section 3. Events that Cause Emergencies

The events listed below may cause water system emergencies. They are arranged from highest to lowest probable risk.

### Events that cause emergencies

| Type of Event | Probability or Risk (High-Med-Low) | Comments |
| --- | --- | --- |
| Winds/Thunderstorms | High | System is vulnerable to high wind events. Power is disrupted |
| Ice Storms | Med | Broken pipes and damaged pump house |
| Drought | Med | Need to plan for decrease in well yield during dry summers. |

# Section 4. Emergency Notification

Notification call-up lists - Use these lists to notify first responders of an emergency.

|  | Emergency Notification List |  |  |  |
| --- | --- | --- | --- | --- |
| Organization or Department | Name & Position | Telephone | Night or Cell Phone | Email |
| Local Law Enforcement | El Paso County Sheriff | 719-390-5555 |  |  |
| Fire Department | Tri-Lakes | 719-481-2436 |  |  |
| Emergency Medical Services | Tri-Lakes Fire | 911 |  |  |
| Water Operator (if contractor) | TOM THARNISH CERTIFIED OPERATOR |  | 719-499-1126 | kedct@comcast.net or ttharnish@tomgov.org |
| EPA Contact | Robert Clement | 303-312-6653 |  | Clement.robert@epa.gov |
| Hazmat Hotline |  |  |  |  |
| Interconnected Water System |  |  |  |  |
| Neighboring Water System (not connected) | Monument | 884-8037 |  |  |
| RCAP Contact |  |  |  |  |
| Rural Water Contact |  |  |  |  |

|  | Priority Customers |  |  |  |
| --- | --- | --- | --- | --- |
| Organization or Department | Name & Position | Telephone | Night or Cell Phone | Email |
| Hospitals or Clinic(s) | N/A |  |  |  |
| Public or Private Schools | N/A |  |  |  |
| Wastewater Treatment Plant | N/A |  |  |  |
| Adult Care Facility | N/A |  |  |  |

| State, Federal or Tribal Notification List |  |  |  |  |
| --- | --- | --- | --- | --- |
| Organization or Department | Name & Position | Telephone | Night or Cell Phone | Email |
| State or Tribal Police | State Police EPCO Sheriff Dispatch | 719-544-2424 719-390-5555 |  |  |
| Regulatory Agency State/Federal/Tribal | Colorado Department of Public Health & Environment | 1-800-518-5608 |  |  |
| Authorized Testing Laboratory | Colorado Analytical Lab | 1-303-659-2313 |  |  |

|  | Service / Repair Notifications |  |  |  |
| --- | --- | --- | --- | --- |
| Organization or Department | Name & Position | Telephone | Night or Cell Phone | Email |
| Electric Utility Co. | IREA | 1-844-IREA-FIX |  | WWW.IREA.COOP |
| Electrician |  |  |  |  |
| Gas/Propane Supplier | BLACK HILLS ENERGY | 1- 888-890-5554 | 1-800-694-8989 |  |
| Water Testing Lab. | Colorado Analytical Lab | 1-303-659-2313 |  |  |
| Sewer Utility Co. | PALMER LAKE SANITATION | 719-481-2732 |  |  |
| Telephone Co. |  |  |  |  |
| Plumber |  |  |  |  |
| Pump Supplier | George Woods COLORADO PUMP | 1-303-688-6462 |  |  |
| “Call Before You Dig” | 811 |  |  |  |
| Rental Equipment Supplier |  |  |  |  |
| Chlorine Supplier | TREATMENT TECHNOLOGY | 1-303-816-1114 |  |  |
| Other Chemical Supplier |  |  |  |  |
| Well Drilling Co. | George Woods COLORADO PUMP | 1-303-688-6462 |  |  |
| Pipe Supplier |  |  |  |  |

|  | Media Notification List |  |  |  |
| --- | --- | --- | --- | --- |
| Organization or Department | Name & Position | Telephone | Night or Cell Phone | Email |
| Newspaper - Local | Tribune | 687-3006 |  |  |
| Newspaper – Regional/State/Tribal | Our Community News | 488-3455 |  | www.ocn.me |
| Radio |  |  |  |  |
| Radio |  |  |  |  |
| TV Station |  |  |  |  |

### Notification procedures

#### Notify water system customers of potential water shortage

| Who is Responsible: | The water system manager is ultimately responsible for making the decision to notify customers regarding a potential water shortage and the need for water restrictions. |
| --- | --- |
| Procedures: | - Confer with key staff to verify problem. - Develop a message to be deliver to customers via email or verbally - Water system operator continue to investigate problem and make repairs as necessary. - Water system operator continuously updates the water system manager on water shortage - Once water shortage is resolved, re-notify customers and Instruct them to flush their plumbing upon return to service. |

#### Alert local law enforcement, state, federal, or tribal drinking water officials, and local health agencies

| Who is Responsible: | Water System Operator |
| --- | --- |
| Procedures: | Will notify local primary agencies concerning emergencies and seek guidance on consulting with other agencies. Email cdphe.wqacutes@state.co.us |

#### Contact service and repair contractors

| Who is Responsible: | Lynn Spear, President |
| --- | --- |
| Procedures: | Contact vendor and authorize the investigation or work of the water issues. |

#### Contact neighboring water systems, if necessary

| Who is Responsible: | Water Operator, Tom Tharnish |
| --- | --- |
| Procedures: | Call Monument Water |

#### Procedures for issuing a health advisory

| Who is Responsible: | Water Operator |
| --- | --- |
| Procedures: | Contact CDPHE Acute Hotline 1-877-518-5608 |

#### Other procedures as necessary

| Who is Responsible: | Bonnie Sands |
| --- | --- |
| Procedures: | Mobilize volunteers to notify residents |

# Section 5. Effective Communication

Communication with customers, the news media, and the general public is a critical part of emergency response.

### Designated public spokesperson

Designate a spokesperson (and alternate) and contact your local primacy agency for delivering messages to the news media and the public.

### Designate a spokesperson and alternates

| Spokesperson | Alternate |
| --- | --- |
| Lynn Spear | Mary Bowman |

# Health advisories

During events when water quality and human health are in question, it may be necessary to issue a health advisory that gives advice or recommendations to water system customers on how to protect their health when drinking water is considered unsafe. These advisories are issued when the health risks to the consumers are sufficient, in the estimation of the water system, state or tribal, or local health officials, to warrant such advice.

Health advisories usually take the form of a drinking water warning or boil water advisory. Communication during these times is critical. Health advisories should always be well thought out and provide very clear messages.

The U.S. Environmental Protection Agency has put together a number of tools, including fact sheets, brochures, forms, and templates to help prepare for a health advisory. These are on the web at:  http://www.epa.gov/safewater/pn.html

# Section 6. Response Actions for Specific Events

In any event, there are a series of general steps to take:

- Analyze the type and severity of the emergency;

- Take immediate actions to save lives;

- Take action to reduce injuries and system damage;

- Make repairs based on priority demand, and

- Return the system to normal operation.

The following tables identify the assessment, set forth immediate response actions, define what notifications need to be made, and describe important follow-up actions.

#### A. Power outage

| Assessment | Pioneer Lookout Water System is vulnerable to power outages. The system does not have a back-up generator. |
| --- | --- |
| Immediate Actions | - Assess whether the outage will be more than 6 hours - Implement water shortage response actions to inform customers to cut back on water usage until power is restored. |
| Notifications | - IREA – let them know that the power is out. - Customers – cut back on water until power is restored. |
| Follow-up Actions | - Inspect facilities to ensure proper operation. - Update ERP as needed. |

#### B. Distribution line break

| Assessment | Water Operator and Vendor to investigate |
| --- | --- |
| Immediate Actions | Direct vendor to fix the line break |
| Notifications | Residents affected by the line break |
| Follow-up Actions | Disinfection and sampling of water line after back in service,. Update ERP as needed. |

#### C. Chlorine treatment equipment failure

| Assessment | Operator |
| --- | --- |
| Immediate Actions | - Isolate equipment and repair or replace. - Test for chlorine residual at normal sampling points, and in water storage. - As indicated by tests, dose water in storage with chlorine, flush system, or both. |
| Notifications | Local government occupational safety and health agency and environmental authorities if spill occurs. Local primacy agency if inadequate chlorine residual is found. |
| Follow-up Actions | Retest for residual chlorine and microbial contamination, Update ERP as needed |

#### D. Treatment equipment

| Assessment | Operator |
| --- | --- |
| Immediate Actions | Investigate and affect repairs as necessary |
| Notifications | District Manager |
| Follow-up Actions | Notify CDPHE as necessary |

#### E. Source pump failure

| Assessment | Operator |
| --- | --- |
| Immediate Actions | Restart pump and check control panel for causes, have electrician review controls and pump starter, repair or replace pump if required. |
| Notifications | Residents if pump is down over 24 hours to reduce water usage. |
| Follow-up Actions | Notification of residents when pump is repaired and water service is back to normal. Update ERP as needed. |

#### F. Microbial (coliform, E. coli) contamination

| Assessment | Operator |
| --- | --- |
| Immediate Actions | - Conduct follow up sampling. - Disinfect system through storage reservoirs and flushing system through blow offs/hydrants throughout the system. |
| Notifications | Public notification as per guidance by local primacy agency and in accordance with the Safe Drinking Act. |
| Follow-up Actions | Send notice to local primacy agency in accordance with the Safe Drinking Water Act. Update ERP as needed. |

#### G. Chemical contamination

| Assessment | Operator |
| --- | --- |
| Immediate Actions | Decontaminate clothing |
| Notifications |  |
| Follow-up Actions |  |

#### H. Vandalism or terrorist attack

| Assessment | Operator determines severity of the incident |
| --- | --- |
| Immediate Actions | - Call County Sheriff’s Office - Notify local primacy agency if necessary - Assess damage and take necessary action; (a) Fix or repair damage (b)) Provide additional protection against future actions (c) Mobilize volunteers to notify residents of vandalism to watch for future actions. |
| Notifications | Activate volunteer notification system if necessary. |
| Follow-up Actions | Completion of repairs, return system to normal. Update ERP as needed. |

#### I. 	Reduction or loss of water in the well

| Assessment | Operator |
| --- | --- |
| Immediate Actions | - Monitor well production and check for system leaks or increased demand on system that could cause well stress - Check water level in well through air line and record measurement and trends. |
| Notifications | Have a volunteer notify residents to curtail water usage to inside use only until problem is solved. |
| Follow-up Actions | Notify residents that the water system is back to normal operation. Update ERP as needed. |

#### J. 	Drought

| Assessment | - Operator reviews well production and system trends - Static water level measurements show decline in water levels in the well. |
| --- | --- |
| Immediate Actions | Curtail outside watering, notify residents of problem. |
| Notifications | Use volunteer to notify residents to curtail water usage to inside use only until problem is solved. |
| Follow-up Actions | System returns to normal by notifying residents. Update ERP as needed. |

#### K. Flood

| Assessment | N/A, tank and wellhouse are located at the highest point of the district |
| --- | --- |
| Immediate Actions |  |
| Notifications |  |
| Follow-up Actions |  |

#### L. 	Earthquake

| Assessment | Water Operator |
| --- | --- |
| Immediate Actions | Evaluate conditions of wellhouse and distribution system |
| Notifications | CDPHE |
| Follow-up Actions |  |

#### M. Hazardous materials spill in vicinity of sources or system lines

| Assessment | Water Operator |
| --- | --- |
| Immediate Actions | Notify Hazmat at El Paso County |
| Notifications | Notify residents to stay clear of area affected |
| Follow-up Actions | Notify residents when area and / or spill is contained and it is deemed safe to return |

#### N. Electronic equipment failure

| Assessment | Operator |
| --- | --- |
| Immediate Actions | Bring in contract to fix controls. |
| Notifications | Residents if controls have failed for a lengthy time and water problems exist. |
| Follow-up Actions | If residents were originally notified of problem, inform them that the problem has been resolved. Update ERP as needed. |

#### O. Cyber attack

| Assessment | Determine the severity of the attack |
| --- | --- |
| Immediate Actions | - Assess damage and direct computer system repairs as needed. - Repair hardware components (if necessary), replace software, as necessary, install improved electronic security, as necessary. |
| Notifications | Contact the board president. If determined necessary, contact State Warning Pont, local law enforcement, and local primary agency. |
| Follow-up Actions | Report completion of repairs to board president. Update ERP as needed. |

#### P. Other

| Assessment |  |
| --- | --- |
| Immediate Actions |  |
| Notifications |  |
| Follow-up Actions |  |

# Section 7. Alternative Water Sources

#### Intertie to adjacent water supply system

| Water Systems Within One-Quarter Mile of our System | Feasibility of Connecting |
| --- | --- |
| Town of Monument | Minimal |

#### Alternate source(s) of water

| Alternative Sources | Names | Phone | Availability | Is the Water Safe for Drinking? |
| --- | --- | --- | --- | --- |
| Bottled water Suppliers for potable water use |  |  |  |  |
| Tanker trucks in the area available to deliver bulk water for non potable use |  |  |  |  |

# Section 8. Returning to Normal Operation

#### Returning to normal operations

| Action | Description and Actions |
| --- | --- |
| Inspect, flush, and disinfect the system | Water system operator inspect all system facilities, ensure all water quality tests have been done and the system has been flushed and disinfected if necessary. Water system operator makes a report to the water system manager and both makes the decision on the current condition of the system. |
| Verify water quality | Water system manager verifies water quality sampling results. |
| Coordinate with local primacy agency | Water system manager coordinates with local primacy agency on system condition and water quality results. |
| Notify customers | Water system manager meets with water system operator and communications lead to write notice to customers. Water system manager directs communications lead to distribute public notice |

Disclaimer

This document contains information on how to plan for protection of the assets of your water    	        system. The work necessarily addresses problems in a general nature. You should review local,

state, tribal (if applicable), and federal laws and regulations to see how they apply to your

specific situation.

Knowledgeable professionals prepared this document using current information. The authors make no representation, expressed or implied, that this information is suitable for any specific

situation. The authors have no obligation to update this work or to make notification of any changes in statutes, regulations, information, or programs described in this document.

Publication of this document does not replace the duty of water systems to warn and properly   	        train their employees and others concerning health and safety risks and necessary precautions

at their water systems.

Rural Community Assistance Partnership, Inc. assumes no liability resulting from the use or

reliance upon any information, guidance, suggestions, conclusions, or opinions contained in this

document.

Rural Community Assistance Partnership, Inc.

1522 K Street, N.W., Suite 400 Washington, D.C. 20005

888/321-7227