Pioneer Lookout Water District Quarterly Meeting

Date:		12 April 2023

Time:		6:00 p.m.

Location:	259 Beacon Lite Road, Monument, CO 80132

Attendees:  	Bonnie Sands, Carmen Whaley, Diana Jones, Mary Bowman, Carolyn Dilger, Tom Tharnish

_____________________________________________________________________

Minutes

Meeting called to order:  6:04 p.m.

Minutes from 17 Jan 2023 meeting:

Motion to approve by	Carolyn Dilger, seconded by Mary Bowman. Approved by Board.

Treasurer’s Report:

Motion to approve by Diana Jones, seconded by Carolyn Dilger. Approved by Board.

Operator’s Report:

- Recent inspection results: Notification of violation on quarterly radiation sample. Possible delay by the lab impacted the results of the test. We will change labs for routine testing. Metals check was clear. Inspection term changed from a three to nine year interval. Sanitary inspection indicated a faulty backflow meter in the shopping center fountain. Meter will be verified operational.

- A booster pump in the well is indicating wear on bearings. Tom will call Colorado Pump to check and repair.

- Town of Monument water pipeline project is progressing. Emergency access for Pioneer Lookout should be connected in May.

Old Business:

- Rate increase vote: The Board was polled in January and approved reducing the quarterly use basis to 7500 gallons. The rate change took effect with the April billing.

- 2023 General budget update: The budget was submitted and approved on 2/4/2023.

New Business:

- Board meeting minutes will be posted on the Pioneer Lookout website following each meeting.

- Board Elections: Because no new applications for Board officers were submitted, the current officers were installed and the 2023 election was cancelled. Officers signed new oaths of office.

- The engineer in charge of the Monument pipeline construction has requested a contingency agreement from Pioneer Lookout to guarantee up to $5000 cost increase, in the event construction complications arise. Motion to approve by Mary Bowman, seconded byCarolyn Dilger. Approved by Board.

- A question arose regarding the rate adjustment taking effect  before residents were notified. The rate change had been posted on the website in February. The website address has been posted on all bills.

- A procedure needs to be established to handle accounts that are in arrears. Board members will investigate possible procedures. This issue will be discussed at the July meeting.

Adjournment:  7:25 p.m. Next meeting July 12, 2023, 6 p.m., 259 Beacon Lite Road, Monument, CO 80132